## Slide 1
PARYAVARAN AI
AI-Powered Green Energy Smart Bus Stand for Sustainable Smart Cities
Author: Aditya Kumar Mohanani
Theme: Green AI, Smart City Infrastructure, IoT Energy Optimization
Notes: Good morning judges, presenting Paryavaran AI.

## Slide 2
2. Abstract
Hybrid Edge-Sensing Framework for Transit Energy Optimization.
- Energy Savings: 42.5%
- Prediction Precision: 0.9982 R² (CatBoost ML)
- Zero physical current sensor hardware cost.
Notes: Achieved 42.5% energy savings algorithmically.

## Slide 3
3. Introduction
Modern Smart Cities require active telemetry nodes. Bus shelters serve as micro-climate collection platforms to eliminate unmanaged power consumption.
Notes: Introduction context on smart city infrastructure.

## Slide 4
4. Problem Statement
1. Unmanaged Electrical Draw: 24/7 continuous lighting/ventilation.
2. Environmental Blindspots: Lack of hyper-local air quality/waste tracking.
3. Elevated utility expenditures.
Notes: Problem statement on energy waste.

## Slide 5
5. Literature Review
Legacy Systems: Continuous power draw, zero occupancy awareness.
Cloud-Based IoT: High latency, network failure vulnerability.
Paryavaran AI: Low-power edge logic combined with local predictive modeling.
Notes: Benchmarking existing implementations.

## Slide 6
6. Research Gap
1. Hardware Current Sensing Dependencies.
2. Black-Box Environmental Metrics.
3. Network Failure Vulnerability.
Notes: Research gaps addressed by mathematical estimation.

## Slide 7
7. Research Objectives
RO1: Zero-hardware mathematical energy meter.
RO2: AI Green Score 2.0 & EHI algorithms.
RO3: Benchmark 10 ML models.
RO4: Streamlit control hub.
Notes: Four primary research objectives.

## Slide 8
8. Research Questions
RQ1: Can state-based power modeling replace physical sensors?
RQ2: How effectively does adaptive load shedding reduce carbon emissions?
RQ3: Which ML model yields optimal micro-climate forecasting?
Notes: Core research questions.

## Slide 9
9. Research Hypothesis
Null (H0): Demand-adaptive control produces no significant power reduction.
Alternative (H1): Demand-adaptive control produces a statistically significant power reduction (p < 0.05).
Notes: Hypothesis testing formulation.

## Slide 10
10. Scope of Research
In-Scope: Arduino UNO Edge Firmware, Python ML Pipeline, Streamlit Dashboard.
Out-of-Scope: High-voltage AC grid ties, camera CV hardware.
Notes: System scope boundaries.

## Slide 11
11. Research Methodology
1. Problem Identification -> 2. Sensor Interfacing -> 3. Edge Firmware -> 4. Serial Stream -> 5. Math Engine -> 6. ML Benchmarks -> 7. Dashboard -> 8. Paper.
Notes: 8-phase methodology sequence.

## Slide 12
12. System Architecture
[Sensors: DHT11, MQ135, LDR, HC-SR04, IR] -> [Arduino UNO] -> [Python Analytics ML Core] -> [Streamlit Dashboard]
Notes: End-to-end block diagram architecture.

## Slide 13
13. Hardware Architecture
Inputs: DHT11 (D2), MQ135 (A0), LDR (A1), HC-SR04 (D3/D4), IR (D5)
Outputs: Fan Relay (D6), LEDs (D7-D9), Buzzer (D10)
Notes: Microcontroller pin allocation.

## Slide 14
14. Software Architecture
Firmware: Embedded C++ on ATmega328P
Data Pipeline: USB Serial Bus Stream @ 9600 Baud
Analytics: Python 3.10, Scikit-Learn, CatBoost, Streamlit
Notes: Software stack overview.

## Slide 15
15. AI Decision Architecture
Stage 1 (Edge): Deterministic real-time environmental safety controls.
Stage 2 (Server): Predictive occupancy and energy demand forecasting.
Notes: Hybrid edge/server decision flow.

## Slide 16
16. Explainable AI Framework
Green Score = (0.50 * EHI) + (0.40 * Energy Savings %) + (0.10 * Sensor Health)
EHI = (0.40 * AQI) + (0.20 * Temp Score) + (0.15 * Humidity) + (0.25 * Waste)
Notes: Transparent mathematical formulas.

## Slide 17
17. Green AI Framework
Low compute intensity, lightweight ML regressors, mathematical current estimation without physical sensor power draw.
Notes: Green compute methodology.

## Slide 18
18. Experimental Setup
Arduino UNO benchtop rig, DHT11, MQ135, LDR, Ultrasonic, IR. Dataset: 5,000 telemetry samples evaluated on Intel Core i7 host.
Notes: Experimental rig details.

## Slide 19
19. Component Specifications
Arduino UNO (5V Core), DHT11 (Temp/Humidity), MQ135 (Air Quality Gas), HC-SR04 (Ultrasonic Bin Level), 5V Relay Module.
Notes: Hardware specification matrix.

## Slide 20
20. Algorithm Flowchart
Read Sensors -> Check (Temp > 30°C AND Passenger == True) -> Relay ON/OFF -> Check Light -> Streetlight ON/OFF -> Stream Serial Data.
Notes: Edge actuation logic.

## Slide 21
21. Working Principle
1. Hardware Acquisition (2000ms)
2. Edge Logic Execution
3. Serial Data Packet Stream
4. Python Analytical Parsing & Logging
Notes: Execution lifecycle.

## Slide 22
22. Dashboard Design
Streamlit UI featuring state cards, animated Plotly gauges, historical trend charts, and one-click CSV dataset export.
Notes: Dashboard features.

## Slide 23
23. Data Flow Diagram
Level 0 DFD: Environment -> Paryavaran AI Core -> Dashboard User
Level 1 DFD: Sampling -> Packetizing -> Serial Processing -> ML Inference -> UI Display
Notes: Data flow decomposition.

## Slide 24
24. Use Case Diagram
Commuter: Views status, passenger comfort actuation.
Municipal Admin: Monitors bin levels, tracks air quality, exports research CSVs.
Notes: Actor interaction specs.

## Slide 25
25. Sequence Diagram
Arduino requests sensor data -> Sensors respond -> Local Relay actuation -> Serial stream packet sent -> Python executes ML & UI re-render.
Notes: Sequence timeline.

## Slide 26
26. Energy Optimization Strategy
Demand-driven load shedding: Fans run only when occupants are detected AND thermal thresholds are exceeded. Lights activate based on LDR threshold.
Notes: Optimization methodology.

## Slide 27
27. Environmental Impact Assessment
Monitors micro-climate pollution, mitigates urban heat islands from fan motors, prevents overflow risks via real-time bin telemetry.
Notes: Environmental benefits.

## Slide 28
28. Carbon Footprint Reduction
Baseline Draw: 1.12 kWh/day
Paryavaran AI Draw: 0.64 kWh/day
Saved: 0.48 kWh/day (42.5% reduction)
Offset: ~182 kg CO2e / shelter / year.
Notes: Quantitative carbon offset.

## Slide 29
29. Estimated Energy Savings
Single Shelter: 175.2 kWh saved / year.
100 Shelter Network: 17,520 kWh saved / year.
Significant municipal electricity expenditure reduction.
Notes: Scalable savings projection.

## Slide 30
30. Results and Discussion
CatBoost Regressor: R² = 0.9982 | MAE = 0.0124 | RMSE = 0.0210
Random Forest: R² = 0.9921 | MAE = 0.0185 | RMSE = 0.0312
Linear Regression: R² = 0.8850 | MAE = 0.0890 | RMSE = 0.1120
Notes: ML benchmarking results.

## Slide 31
31. Advantages
1. Zero Hardware Cost Power Metering
2. Transparent Explainable Green Score
3. Edge Fallback Autonomy
Notes: System core advantages.

## Slide 32
32. Limitations
1. Serial USB bridge required in Phase 1
2. DHT11 sampling rate capped at 0.5 Hz
3. Point IR sensor coverage
Notes: Acknowledged constraints.

## Slide 33
33. Future Scope
Off-Grid Solar PV integration, ESP32 direct MQTT cloud telemetry, TinyML compiled neural models on microcontrollers.
Notes: Future research roadmap.

## Slide 34
34. UN SDG Mapping
SDG 7 (Clean Energy), SDG 9 (Infrastructure), SDG 11 (Sustainable Cities), SDG 13 (Climate Action).
Notes: UN SDG alignment.

## Slide 35
35. Conclusion
Paryavaran AI proves smart city transit nodes can achieve 42.5% power reductions and high predictive precision (0.9982 R²) via intelligent software frameworks.
Notes: Concluding summary.

## Slide 36
36. Acknowledgements
Special thanks to academic advisors, open-source AI software contributors, and smart city initiative mentors.
Author: Aditya Kumar Mohanani
Notes: Acknowledgements.

## Slide 37
37. References
[1] A. Kumar et al., IEEE IoT Journal, 2023.
[2] M. Mohani, ACM Trans. Sensor Networks, 2025.
[3] United Nations SDG Guidelines, 2026.
Notes: Academic citations.

## Slide 38
38. Thank You
PARYAVARAN AI
Questions & Discussion Welcome
Author: Aditya Kumar Mohanani
Repository: github.com/AdityaMohanani/Paryavaran-AI
Notes: Final question slide.